## Volume Calibration Worksheet
Instrument Serial # | [8 empty] | Volume Calibration Record Worksheet
INTIAL SET UP:
1. Assign a set of 6 containers that will serve as your "Tared Calibration containers."
a. Label the containers 1, 2, 3, 4, 5, 6 to correspond with each bag position on the TDF instrument
b. Weigh each container and enter those weights in the column titled "Tare wt" (D17, D18, D19, D20, D21 and D22 respectively)
2. Assign a second set of containers as your "spare" set. These do not need to be numbered or pre-weighed
3. Proceed with the Volume Calibration process as instructed on pages 83-85 of the Operator's Manual
NOTE: 1. Use the same pre-weighed containers every time a volume calibration is done.
2. Enter new weights in the next box available in order to maintain a record of this diagnostic procedure.
3. The AVERAGE should fall in the range of 19.75-20.25g
Tube # | Pump position | *** | Calibration check #1 |  | Calibration check #2 |  | Calibration check #3 |  | Calibration check #4 |  | Calibration check #5 |  | Calibration check #6 |  | Calibration check #7 |  | Calibration check #8 |  | Calibration check #9 |  | Calibration check #10 |  | Calibration check #11 |  | Calibration check #12 |  | Calibration check #13 |  | Calibration check #14 |  | Calibration check #15 |  | Calibration check #16 |  | Calibration check #17 |  | Calibration check #18 |  | Calibration check #19 |  | Calibration check #20 |  | Calibration check #21 |  | Calibration check #22 |  | Calibration check #23 |  | Calibration check #24 |  | Calibration check #25 |  | Calibration check #26 |  | Calibration check #27 |  | Calibration check #28 |  | Calibration check #29 |  | Calibration check #30 |  | Calibration check #31 |  | Calibration check #32 |  | Calibration check #33 |  | Calibration check #34 |  | Calibration check #35 |  | Calibration check #36 |  | Calibration check #37 |  | Calibration check #38 |  | Calibration check #39 |  | Calibration check #40
|  | Tare wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt | Gross wt | Net wt
1 | 2 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2 | 3 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3 | 4 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
4 | 5 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
5 | 6 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
6 | 7 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
|  |  | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0 | AVERAGE: | 0
| RANGE | *** | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0 | RANGE: | 0
|  |  | Calibration check #1 Notes: |  | Calibration check #2 Notes: |  | Calibration check #3 Notes: |  | Calibration check #4 Notes: |  | Calibration check #5 Notes: |  | Calibration check #6 Notes: |  | Calibration check #7 Notes: |  | Calibration check #8 Notes: |  | Calibration check #9 Notes: |  | Calibration check #10 Notes: |  | Calibration check #11 Notes: |  | Calibration check #12 Notes: |  | Calibration check #13 Notes: |  | Calibration check #14 Notes: |  | Calibration check #15 Notes: |  | Calibration check #16 Notes: |  | Calibration check #17 Notes: |  | Calibration check #18 Notes: |  | Calibration check #19 Notes: |  | Calibration check #20 Notes: |  | Calibration check #21 Notes: |  | Calibration check #22 Notes: |  | Calibration check #23 Notes: |  | Calibration check #24 Notes: |  | Calibration check #25 Notes: |  | Calibration check #26 Notes: |  | Calibration check #27 Notes: |  | Calibration check #28 Notes: |  | Calibration check #29 Notes: |  | Calibration check #30 Notes: |  | Calibration check #31 Notes: |  | Calibration check #32 Notes: |  | Calibration check #33 Notes: |  | Calibration check #34 Notes: |  | Calibration check #35 Notes: |  | Calibration check #36 Notes: |  | Calibration check #37 Notes: |  | Calibration check #38 Notes: |  | Calibration check #39 Notes: |  | Calibration check #40 Notes:
|  |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech: |  | Date: Tech:

## Instructions
Dietary Fiber Analysis - Spreadsheet Instructions Rev 061923
This MS-Excel workbook is in MS-Excel 2007 format and has spreadsheets to help you with TDF analysis: · IDF_SDF (AOAC 991.43; AOAC 2011.25; AOAC 2017.16) · TDF (AOAC 991.43; AOAC 985.29; AOAC 2009.01, AOAC 2017.16) · Blank (for TDF assays use the "SDF" section of this spreadsheet)
To use any of the spreadsheets, fill in the WHITE boxes. The appropriate BLUE boxes will automatically calculate results.
Diatomaceous Earth
· You must use Diatomaceous Earth in the SDF filter bag.
· The use of Diatomaceous Earth in the IDF filter bag is optional. The filtration process for samples that are difficult to filter may be benefitted by the use of Diatomaceaous Earth.
Calculations
· There are formulas in the cells that automatically calculate results. If you modify these formulas, the results will be affected.
· The %IDF and %SDF calculations include data from 2 samples of the same type. Therefore, M1 is the initial weight of sample 1 and M2 is the initial weight of sample 2. The same applies to Residue Weights (R1/R2 and BR1/BR2).
WASDF
The %WASDF entries are only used with AOAC 2009.01 and AOAC 2011.25 methods.
Miscellaneous Information Capture
Each spreadsheet provides 4 user-specified boxes labeled Misc-1, Misc-2, Misc-3, and Misc-4. These boxes can be used to capture any standard information that you would like to capture (e.g., Instrument#). You can change the labels for these boxes by typing over the existing text in the cell.
Protein and Ash
Each spreadsheet includes a block of cells at the bottom for Protein and Ash values. Data entered into these cells automatically populates the appropriate Protein and Ash cells within the IDF, SDF, and TDF calculation sections. The default Protein and Ash values are zero.
Blanks
BLANK values are used in the IDF, SDF, and TDF calculations. The following BLANK values (based on research done in the ANKOM lab) are default values loaded in the IDF_SDF and TDF spreadsheets.
|  | IDF | SDF | TDF
| AOAC 985.29 |  |  | -0.0028
| AOAC 991.43 | -0.0072 | -0.003 | -0.0047
| AOAC 2009.01 |  |  | -0.0034
| AOAC 2011.25 | -0.0051667 | -0.0045
| AOAC 2017.16 |  |  | 0.0045146
| AOAC 2022.01 | -0.0056497 | 0.0052108
You do not need to run BLANKS with every set of samples. However, if you want to determine your own BLANK values by running the IDF_SDF and TDF analyses without using any samples and filling in the "BLANK" tab in this Excel Workbook, ANKOM recommends that the BLANK value used in the IDF, SDF, and TDF calculations be the average of at least 18 separate BLANK values.
If you determine your own BLANK values, you can overwrite the values currently in the spreadsheets.

## IDF_SDF (AOAC 991.43)
Dietary Fiber Analysis - IDF/SDF (AOAC 991.43)
Study # |  |  |  | Date |  |  | Notes
Customer |  |  |  | Analyst
Misc-1 |  |  |  | Misc-3
Misc-2 |  |  |  | Misc-4
IDF |  |  | M | fS | D (optional) | fF | R = fF - fS - D |  | P | A2 | A = A2 - D | B | % IDF
| Sample | IDF | Sample wt. | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Recovered | Protein | Ash of Final Bag | Ash | Blank Value | [((R1+R2)/2)-P-A-B] x 100 ((M1+M2)/2)
| Identifier | Bag # | (g) | (g) | Earth wt. (g) | (g) | (g) | Residue (%) | (g) | (g) | (g) | (g)
|  | 1 | [6 empty] | 0 |  |  | -0.0072
|  | 2 | [7 empty] | 0 | 0
|  | 3 | [6 empty] | 0
|  | 4 | [7 empty] | 0 | 0
|  | 5 | [6 empty] | 0
|  | 6 | [7 empty] | 0 | 0
SDF |  |  | M | fS | D | fF | R = fF - fS - D |  | P | A2 | A = A2 - D | B | % SDF
| Sample | SDF | Sample wt. | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Recovered | Protein | Ash of Final Bag | Ash | Blank Value | [((R1+R2)/2)-P-A-B] x 100 ((M1+M2)/2)
| Identifier | Bag # | (g) | (g) | Earth wt. (g) | (g) | (g) | Residue (%) | (g) | (g) | (g) | (g)
|  | 1 | [6 empty] | 0 |  |  | -0.003
|  | 2 | [7 empty] | 0 | 0
|  | 3 | [6 empty] | 0
|  | 4 | [7 empty] | 0 | 0
|  | 5 | [6 empty] | 0
|  | 6 | [7 empty] | 0 | 0
Protein | Bag # | g | Ash (A2) | Bag # | g | [5 empty] | %TDF | Bag # | % TDF = % IDF + % SDF
| IDF 1 |  |  | IDF 2 | [7 empty] | 1, 2
| IDF 3 |  |  | IDF 4
| IDF 5 |  |  | IDF 6 | [7 empty] | 3, 4
| SDF 1 |  |  | SDF 2
| SDF 3 |  |  | SDF 4 | [7 empty] | 5, 6
| SDF 5 |  |  | SDF 6

## TDF (AOAC 991.43)
Dietary Fiber Analysis - TDF (AOAC 991.43)
Study # |  |  |  | Date |  |  | Notes
Customer |  |  |  | Analyst
Misc-1 |  |  |  | Misc-3
Misc-2 |  |  |  | Misc-4
TDF |  |  | M | fS | D | fF | R = fF - fS - D |  | P | A2 | A = A2 - D | B | % TDF
| Sample | SDF | Sample wt. | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Recovered | Protein | Ash of Final Bag | Ash | Blank Value | [((R1+R2)/2)-P-A-B] x 100 ((M1+M2)/2)
| Identifier | Bag # | (g) | (g) | Earth wt. (g) | (g) | (g) | Residue (%) | (g) | (g) | (g) | (g)
|  | 1 | [6 empty] | 0 |  |  | -0.0047
|  | 2 | [7 empty] | 0 | 0
|  | 3 | [6 empty] | 0
|  | 4 | [7 empty] | 0 | 0
|  | 5 | [6 empty] | 0
|  | 6 | [7 empty] | 0 | 0
Protein | Bag # | g | Ash (A2) | Bag # | g
| SDF 1 |  |  | SDF 2
| SDF 3 |  |  | SDF 4
| SDF 5 |  |  | SDF 6

## TDF (AOAC 985.29)
Dietary Fiber Analysis - TDF (AOAC 985.29)
Study # |  |  |  | Date |  |  | Notes
Customer |  |  |  | Analyst
Misc-1 |  |  |  | Misc-3
Misc-2 |  |  |  | Misc-4
TDF |  |  | M | fS | D | fF | R = fF - fS - D |  | P | A2 | A = A2 - D | B | % TDF
| Sample | SDF | Sample wt. | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Recovered | Protein | Ash of Final Bag | Ash | Blank Value | [((R1+R2)/2)-P-A-B] x 100 ((M1+M2)/2)
| Identifier | Bag # | (g) | (g) | Earth wt. (g) | (g) | (g) | Residue (%) | (g) | (g) | (g) | (g)
|  | 1 | [6 empty] | 0 |  |  | -0.0028
|  | 2 | [7 empty] | 0 | 0
|  | 3 | [6 empty] | 0
|  | 4 | [7 empty] | 0 | 0
|  | 5 | [6 empty] | 0
|  | 6 | [7 empty] | 0 | 0
Protein | Bag # | g | Ash (A2) | Bag # | g
| SDF 1 |  |  | SDF 2
| SDF 3 |  |  | SDF 4
| SDF 5 |  |  | SDF 6

## IDF_SDF (AOAC 2011.25)
Dietary Fiber Analysis - IDF/SDF (AOAC 2011.25)
Study # |  |  |  | Date |  |  | Notes
Customer |  |  |  | Analyst
Misc-1 |  |  |  | Misc-3
Misc-2 |  |  |  | Misc-4
IDF |  |  | M | fS | D (optional) | fF | R = fF - fS - D |  | P | A2 | A = A2 - D | B | % IDF
| Sample | IDF | Sample wt. | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Recovered | Protein | Ash of Final Bag | Ash | Blank Value | [((R1+R2)/2)-P-A-B] x 100 ((M1+M2)/2)
| Identifier | Bag # | (g) | (g) | Earth wt. (g) | (g) | (g) | Residue (%) | (g) | (g) | (g) | (g)
|  | 1 | [6 empty] | 0 |  |  | -0.0052
|  | 2 | [7 empty] | 0 | 0
|  | 3 | [6 empty] | 0
|  | 4 | [7 empty] | 0 | 0
|  | 5 | [6 empty] | 0
|  | 6 | [7 empty] | 0 | 0
SDF |  |  | M | fS | D | fF | R = fF - fS - D |  | P | A2 | A = A2 - D | B | % SDF
| Sample | SDF | Sample wt. | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Recovered | Protein | Ash of Final Bag | Ash | Blank Value | [((R1+R2)/2)-P-A-B] x 100 + %WASDF ((M1+M2)/2)
| Identifier | Bag # | (g) | (g) | Earth wt. (g) | (g) | (g) | Residue (%) | (g) | (g) | (g) | (g)
|  | 1 | [6 empty] | 0 |  |  | -0.0045
|  | 2 | [7 empty] | 0 | 0
|  | 3 | [6 empty] | 0
|  | 4 | [7 empty] | 0 | 0
|  | 5 | [6 empty] | 0
|  | 6 | [7 empty] | 0 | 0
Protein | Bag # | g | Ash (A2) | Bag # | g |  |  | Bag # | % |  | %TDF | Bag # | % TDF = % IDF + % SDF
| IDF 1 |  |  | IDF 2 |  |  |  | SDF 1 |  |  |  | 1, 2
| IDF 3 |  |  | IDF 4 |  |  |  | SDF 2
| IDF 5 |  |  | IDF 6 |  |  | %WASDF | SDF 3 |  |  |  | 3, 4
| SDF 1 |  |  | SDF 2 |  | Method: AOAC 2011.25 |  | SDF 4
| SDF 3 |  |  | SDF 4 |  |  |  | SDF 5 |  |  |  | 5, 6
| SDF 5 |  |  | SDF 6 |  |  |  | SDF 6

## TDF (AOAC 2009.01)
Dietary Fiber Analysis - TDF (AOAC 2009.01)
Study # |  |  |  | Date |  |  | Notes
Customer |  |  |  | Analyst
Misc-1 |  |  |  | Misc-3
Misc-2 |  |  |  | Misc-4
TDF |  |  | M | fS | D | fF | R = fF - fS - D |  | P | A2 | A = A2 - D | B | % TDF
| Sample | SDF | Sample wt. | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Recovered | Protein | Ash of Final Bag | Ash | Blank Value | [((R1+R2)/2)-P-A-B] x 100 + %WASDF ((M1+M2)/2)
| Identifier | Bag # | (g) | (g) | Earth wt. (g) | (g) | (g) | Residue (%) | (g) | (g) | (g) | (g)
|  | 1 | [6 empty] | 0 |  |  | -0.0034
|  | 2 | [7 empty] | 0 | 0
|  | 3 | [6 empty] | 0
|  | 4 | [7 empty] | 0 | 0
|  | 5 | [6 empty] | 0
|  | 6 | [7 empty] | 0 | 0
Protein | Bag # | g | Ash (A2) | Bag # | g |  |  | Bag # | %
| SDF 1 |  |  | SDF 2 |  |  | %WASDF | SDF 1
| SDF 3 |  |  | SDF 4 |  | Method: AOAC 2009.01 |  | SDF 2
| SDF 5 |  |  | SDF 6 |  |  |  | SDF 3
SDF 4
SDF 5
SDF 6

## TDF (AOAC 2017.16)
Dietary Fiber Analysis - TDF (AOAC 2017.16)
Study # |  |  |  | Date |  |  | Notes
Customer |  |  |  | Analyst
Misc-1 |  |  |  | Misc-3
Misc-2 |  |  |  | Misc-4
TDF |  |  | M | fS | D | fF | R = fF - fS - D |  | P | A2 | A = A2 - D | B | % TDF
| Sample | SDF | Sample wt. | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Recovered | Protein | Ash of Final Bag | Ash | Blank Value | [((R1+R2)/2)-P-A-B] x 100 + % SDFS ((M1+M2)/2)
| Identifier | Bag # | (g) | (g) | Earth wt. (g) | (g) | (g) | Residue (%) | (g) | (g) | (g) | (g)
|  | 1 | [6 empty] | 0 |  |  | 0.0045146
|  | 2 | [7 empty] | 0 | 0
|  | 3 | [6 empty] | 0
|  | 4 | [7 empty] | 0 | 0
|  | 5 | [6 empty] | 0
|  | 6 | [7 empty] | 0 | 0
Protein | Bag # | g | Ash (A2) | Bag # | g |  |  | Bag # | %
| SDF 1 |  |  | SDF 2 |  |  | % SDFS (HPLC) | SDF 1
| SDF 3 |  |  | SDF 4 |  | Method: AOAC 2017.16 |  | SDF 2
| SDF 5 |  |  | SDF 6 |  |  |  | SDF 3
SDF 4
SDF 5
SDF 6

## IDF_SDF (AOAC 2022.01)
Dietary Fiber Analysis - IDF/SDF (AOAC 2022.01)
Study # |  |  |  | Date |  |  | Notes
Customer |  |  |  | Analyst
Misc-1 |  |  |  | Misc-3
Misc-2 |  |  |  | Misc-4
IDF |  |  | M | fS | D (optional) | fF | R = fF - fS - D |  | P | A2 | A = A2 - D | B | % IDF
| Sample | IDF | Sample wt. | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Recovered | Protein | Ash of Final Bag | Ash | Blank Value | [((R1+R2)/2)-P-A-B] x 100 ((M1+M2)/2)
| Identifier | Bag # | (g) | (g) | Earth wt. (g) | (g) | (g) | Residue (%) | (g) | (g) | (g) | (g)
|  | 1 | [6 empty] | 0 |  |  | -0.0056497
|  | 2 | [7 empty] | 0 | 0
|  | 3 | [6 empty] | 0
|  | 4 | [7 empty] | 0 | 0
|  | 5 | [6 empty] | 0
|  | 6 | [7 empty] | 0 | 0
SDF |  |  | M | fS | D | fF | R = fF - fS - D |  | P | A2 | A = A2 - D | B | % SDF
| Sample | SDF | Sample wt. | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Recovered | Protein | Ash of Final Bag | Ash | Blank Value | [((R1+R2)/2)-P-A-B] x 100 + % SDFS ((M1+M2)/2)
| Identifier | Bag # | (g) | (g) | Earth wt. (g) | (g) | (g) | Residue (%) | (g) | (g) | (g) | (g)
|  | 1 | [6 empty] | 0 |  |  | 0.0052108
|  | 2 | [7 empty] | 0 | 0
|  | 3 | [6 empty] | 0
|  | 4 | [7 empty] | 0 | 0
|  | 5 | [6 empty] | 0
|  | 6 | [7 empty] | 0 | 0
Protein | Bag # | g | Ash (A2) | Bag # | g |  |  | Bag # | % |  | %TDF | Bag # | % TDF = % IDF + % SDF
| IDF 1 |  |  | IDF 2 |  |  |  | SDF 1 |  |  |  | 1, 2
| IDF 3 |  |  | IDF 4 |  |  |  | SDF 2
| IDF 5 |  |  | IDF 6 |  |  | % SDFS (HPLC) | SDF 3 |  |  |  | 3, 4
| SDF 1 |  |  | SDF 2 |  | Method: AOAC 2017.16 |  | SDF 4
| SDF 3 |  |  | SDF 4 |  |  |  | SDF 5 |  |  |  | 5, 6
| SDF 5 |  |  | SDF 6 |  |  |  | SDF 6

## BLANK
Dietary Fiber Analysis - BLANK Calculation
Study # |  |  |  | Date |  |  | Notes
Customer |  |  |  | Analyst
Misc-1 |  |  |  | Misc-3
Misc-2 |  |  |  | Misc-4
IDF |  |  |  | fS | D (optional) | fF | BR = fF - fS - D | P | A | A = A2 - D | B = ((BR1+BR2)/2)-P-A
|  | IDF |  | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Protein | Ash of Final Bag | Ash | Final Blank Value
|  | Bag # |  | (g) | Earth wt. (g) | (g) | (g) | (g) | (g) | (g) | (g)
|  | 1 | [5 empty] | 0
|  | 2 | [6 empty] | 0 | 0
|  | 3 | [5 empty] | 0
|  | 4 | [6 empty] | 0 | 0
|  | 5 | [5 empty] | 0
|  | 6 | [6 empty] | 0 | 0
SDF |  |  |  | fS | D | fF | BR = fF - fS - D | P | A2 | A = A2 - D | B = ((BR1+BR2)/2)-P-A
|  | SDF |  | Initial Bag wt. | Diatomaceous | Final Bag wt. | Residue wt. | Protein | Ash of Final Bag | Ash | Final Blank Value
|  | Bag # |  | (g) | Earth wt. (g) | (g) | (g) | (g) | (g) | (g) | (g)
|  | 1 | [5 empty] | 0
|  | 2 | [6 empty] | 0 | 0
|  | 3 | [5 empty] | 0
|  | 4 | [6 empty] | 0 | 0
|  | 5 | [5 empty] | 0
|  | 6 | [6 empty] | 0 | 0
Protein | Bag # | g | Ash (A2) | Bag # | g
| IDF 1 |  |  | IDF 2
| IDF 3 |  |  | IDF 4
| IDF 5 |  |  | IDF 6
| SDF 1 |  |  | SDF 2
| SDF 3 |  |  | SDF 4
| SDF 5 |  |  | SDF 6